## Slide 1: Case Study Security Hardening – VMware
CIS Benchmarks case study (Vmware ESXi 5.5)

## Slide 2: Case Study Security Hardening – VMware
December 16, 2014
132 pages PDF doc

## Slide 3: Case Study Security Hardening – VMware
5.1 Disable DCUI to prevent local administrative control (Scored)
Profile applicability:
  Level 2

## Slide 4: Case Study Security Hardening – VMware
5.1 Disable DCUI to prevent local administrative control (Scored)
  Description: The Direct Console User Interface (DCUI) can be disabled to prevent any local administration from the Host;

## Slide 5: Case Study Security Hardening – VMware
5.1 Disable DCUI to prevent local administrative control (Scored)
  Description: …Once the DCUI is disabled any administration of the ESXi host will be done through vCenter.

## Slide 6: Case Study Security Hardening – VMware
Rationale:
  The DCUI allows for low-level host configuration such as configuring IP address, hostname and root password as well as diagnostic capabilities such as enabling the ESXi shell, viewing log files, restarting…

## Slide 7: Case Study Security Hardening – VMware
Rationale:
  …agents, and resetting configurations. Actions performed from the DCUI are not tracked by vCenter Server. Even if Lockdown Mode is enabled, users who are members of the DCUI.Access list can..

## Slide 8: Case Study Security Hardening – VMware
Rationale:
  …perform administrative tasks in the DCUI bypassing RBAC and auditing controls provided through vCenter. DCUI access can be disabled. Disabling it prevents all local activity and thus forces actions to be...

## Slide 9: Case Study Security Hardening – VMware
Rationale:
  …performed in vCenter Server where they can be centrally audited and monitored.

## Slide 10: Case Study Security Hardening – VMware
Audit: Perform the following:
1. From the vSphere web client select the host.
2. Select "Manage" -> "Settings" -> "System" -> "Security Profile".
3. Scroll down to "Services".
4. Click "Edit...".
5. Select "Direct Console UI".

## Slide 11: Case Study Security Hardening – VMware
Audit: …Perform the following:
6. Verify the Startup Policy is set to "Start and Stop Manually“

## Slide 12: Case Study Security Hardening – VMware
Audit: …Additionally, the following PowerCLI command may be used:
  # List DCUI settings for all hosts Get-VMHost | Get-VMHostService | Where { $_.key -eq "DCUI" }

## Slide 13: Case Study Security Hardening – VMware
Remediation: Perform the following:
1. From the vSphere web client select the host.
2. Select "Manage" -> "Settings" -> "System" -> "Security Profile".
3. Scroll down to "Services".
4. Click "Edit...".
5. Select "Direct Console UI".

## Slide 14: Case Study Security Hardening – VMware
Remediation:…
6. Click "Stop".
7. Change the Startup Policy "Start and Stop Manually".
8. Click "OK".

## Slide 15: Case Study Security Hardening – VMware
Impact:
  Disabling the DCUI can create a potential "lock out" situation should the host become isolated from vCenter Server. Recovering from a "lock out" scenario requires re-installing ESXi. Consider leaving DCUI enabled and…

## Slide 16: Case Study Security Hardening – VMware
Impact:
  …instead enable lockdown mode and limit the users allowed to access the DCUI using the DCUI.Access list.

## Slide 17: Case Study Security Hardening – VMware
Default Value:
  The prescribed state is not the default state.

## Slide 18: Case Study Security Hardening – VMware
References:
  http://pubs.vmware.com/vsphere-55/topic/com.vmware.vsphere.security.doc/GUID-6779F098-48FE-4E22-B116-A8353D19FF56.html
END